## Passive_Experimental
Date | Hour | Experimental Avg Passive N2 Concentration (GCE/probe) | Experimental Avg Passive N2 Concentration (GCE/ml WW) | Daily N2 y int | Daily N2 slope | N2 ct | Calibration Curve N2 (GCE/30ml) | Calibration Curve N2 (GCE/ml WW) | Avg Ln N2 (1st/order) | Avg 1/N2 (2nd/order) | Experimental Avg Passive RP Concentration (GCE/30ml) | Experimental Avg Passive RP Concentration (GCE/ml WW) | Daily RP y int | Daily RP slope | RP ct | Calibration Curve RP (GCE/30ml) | Avg Ln RP (1st/order) | Avg 1/RP (2nd/order) | Experimental Avg Passive N2 Concentration (GCE/gal) | Experimental Avg Passive RP Concentration (GCE/gal) | Experimental Avg Passive Turbidity (NTU) | Experimental Avg Passive Turbidity (mg/L SS) | Experimental Avg Passive Turbidity (mg/gal SS) | Avg Ln Turbidity (1st/order) | Avg 1/Turbidity (2nd/order) | Avg Flow (gpm) | Experimental Avg Passive N2 Mass Loading Rate (GCE/min) | Experimental Avg Passive RP Mass Loading Rate (GCE/min) | Experimental Avg Passive Turbidity Mass Loading Rate (mg/min SS)
2022-10-25 | 0.5 | 451.25 | 45.125 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 112.5053 | 6.112 | 0.0022161 | 5498 | 549.8 | 41.0275 | -3.292 | 25.83 | 41354.4814 | 8.6121 | 0.00018188 | 56932.7083 | 693664.3333 | 163 | 54.3333 | 205.6517 | 5.3262 | 0.0048626 | 1.3046 | 74273.1929 | 904939.6448 | 268.2888
2022-10-25 | 2 | 445.75 | 44.575 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 112.5053 | 6.0998 | 0.0022434 | 6865 | 686.5 | 41.0275 | -3.292 | 25.83 | 41354.4814 | 8.8342 | 0.00014567 | 56238.7917 | 866134.1667 | 96.4 | 32.1333 | 121.6247 | 4.8009 | 0.008222 | 1.4039 | 78952.5728 | 1215949.3259 | 170.7466
2022-10-25 | 4 | 687.75 | 68.775 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 112.5053 | 6.5334 | 0.001454 | 3880.25 | 388.025 | 41.0275 | -3.292 | 25.83 | 41354.4814 | 8.2637 | 0.00025772 | 86771.125 | 489558.2083 | 285.5 | 95.1667 | 360.2058 | 5.8867 | 0.0027762 | 1.2954 | 112402.0346 | 634166.4775 | 466.6053
2022-10-25 | 6 | 1368.5 | 136.85 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 112.5053 | 7.2215 | 0.00073073 | 16035.75 | 1603.575 | 41.0275 | -3.292 | 25.83 | 41354.4814 | 9.6826 | 6.2361e-05 | 172659.0833 | 2023177.125 | 141.5 | 47.1667 | 178.5258 | 5.1847 | 0.0056014 | 1.1704 | 202087.1984 | 2368008.6169 | 208.9539
2022-10-25 | 8 | 774 | 77.4 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 112.5053 | 6.6516 | 0.001292 | 7499.25 | 749.925 | 41.0275 | -3.292 | 25.83 | 41354.4814 | 8.9226 | 0.00013335 | 97653 | 946155.375 | 223 | 74.3333 | 281.3517 | 5.6396 | 0.0035543 | 1.0446 | 102003.8127 | 988310.1968 | 293.887
2022-10-25 | 10 | 2338.75 | 233.875 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 112.5053 | 7.7574 | 0.00042758 | 11968.25 | 1196.825 | 41.0275 | -3.292 | 25.83 | 41354.4814 | 9.39 | 8.3554e-05 | 295072.2917 | 1509994.2083 | 185.5 | 61.8333 | 234.0392 | 5.4555 | 0.0042728 | 1.064 | 313957.3324 | 1606635.9564 | 249.018
2022-10-25 | 12 | 4005.5 | 400.55 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 112.5053 | 8.2954 | 0.00024966 | 10280.25 | 1028.025 | 41.0275 | -3.292 | 25.83 | 41354.4814 | 9.238 | 9.7274e-05 | 505360.5833 | 1297024.875 | 175 | 58.3333 | 220.7917 | 5.3972 | 0.0045292 | 1.0574 | 534379.8224 | 1371503.7248 | 233.4702
2022-12-09 | 0.5 | 4662.5 | 466.25 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 45.8042 | 8.4473 | 0.00021448 | 19037.5 | 1903.75 | 41.0275 | -3.0297 | 26.335 | 70708.8936 | 9.8542 | 5.2528e-05 | 588252.0833 | 2401897.9167 | 244 | 81.3333 | 307.8467 | 5.7296 | 0.0032484 | 1.5 | 882378.125 | 3602846.875 | 461.77
2022-12-09 | 2 | 1243.75 | 124.375 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 45.8042 | 7.1259 | 0.00080402 | 12729.75 | 1272.975 | 41.0275 | -3.0297 | 26.335 | 70708.8936 | 9.4517 | 7.8556e-05 | 156919.7917 | 1606070.125 | 256 | 85.3333 | 322.9867 | 5.7776 | 0.0030961 | 0.93 | 145935.4063 | 1493645.2163 | 300.3776
2022-12-09 | 4 | 3878.5 | 387.85 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 45.8042 | 8.2632 | 0.00025783 | 27243 | 2724.3 | 41.0275 | -3.0297 | 26.335 | 70708.8936 | 10.2126 | 3.6707e-05 | 489337.4167 | 3437158.5 | 400.5 | 133.5 | 505.2975 | 6.2251 | 0.001979 | 0.75 | 367003.0625 | 2577868.875 | 378.9731
2022-12-09 | 6 | 4358.25 | 435.825 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 45.8042 | 8.3798 | 0.00022945 | 24619.75 | 2461.975 | 41.0275 | -3.0297 | 26.335 | 70708.8936 | 10.1113 | 4.0618e-05 | 549865.875 | 3106191.7917 | 362.5 | 120.8333 | 457.3542 | 6.1255 | 0.0021865 | 0.4 | 219946.35 | 1242476.7167 | 182.9417
2022-12-09 | 8 | 1243.75 | 124.375 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 45.8042 | 7.1259 | 0.00080402 | 12729.75 | 1272.975 | 41.0275 | -3.0297 | 26.335 | 70708.8936 | 9.4517 | 7.8556e-05 | 156919.7917 | 1606070.125 | 1199 | 399.6667 | 1512.7383 | 7.3217 | 0.00066105 | 0.53 | 83167.4896 | 851217.1663 | 801.7513
2022-12-09 | 10 | 3713.25 | 371.325 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 45.8042 | 8.2197 | 0.00026931 | 28206.75 | 2820.675 | 41.0275 | -3.0297 | 26.335 | 70708.8936 | 10.2473 | 3.5453e-05 | 468488.375 | 3558751.625 | 1083 | 361 | 1366.385 | 7.2199 | 0.00073186 | 0.3 | 140546.5125 | 1067625.4875 | 409.9155
2022-12-09 | 12 | 1929.0003 | 192.9 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 45.8042 | 7.5648 | 0.0005184 | 25080.75 | 2508.075 | 41.0275 | -3.0297 | 26.335 | 70708.8936 | 10.1299 | 3.9871e-05 | 243375.5315 | 3164354.625 | 978 | 326 | 1233.91 | 7.1179 | 0.00081043 | 0.35 | 85181.436 | 1107524.1187 | 431.8685
2023-01-10 | 0.5 | 5692 | 569.2 | 39.4568 | -3.2593 | 28.07 | 3116.4902 | 311.649 | 8.6468 | 0.00017569 | 70703.75 | 7070.375 | 41.0276 | -3.0297 | 25.965 | 93673.0236 | 11.1663 | 1.4144e-05 | 718140.6667 | 8920456.4583 | 635.5 | 211.8333 | 801.7892 | 6.6868 | 0.0012472 | 1.0914 | 783782.3825 | 9735831.6284 | 875.0768
2023-01-10 | 2 | 17217.5 | 1721.75 | 39.4568 | -3.2593 | 28.07 | 3116.4902 | 311.649 | 9.7537 | 5.808e-05 | 21306 | 2130.6 | 41.0276 | -3.0297 | 25.965 | 93673.0236 | 9.9667 | 4.6935e-05 | 2172274.5833 | 2688107 | 553.5 | 184.5 | 698.3325 | 6.5487 | 0.001432 | 1.0881 | 2363635.7709 | 2924909.1758 | 759.8504
2023-01-10 | 4 | 17474 | 1747.4 | 39.4568 | -3.2593 | 28.07 | 3116.4902 | 311.649 | 9.7685 | 5.7228e-05 | 10513.75 | 1051.375 | 41.0276 | -3.0297 | 25.965 | 93673.0236 | 9.2604 | 9.5114e-05 | 2204636.3333 | 1326484.7917 | 680 | 226.6667 | 857.9333 | 6.7545 | 0.0011656 | 1.0244 | 2258383.819 | 1358823.5594 | 878.8491
2023-01-10 | 6 | 19171.75 | 1917.175 | 39.4568 | -3.2593 | 28.07 | 3116.4902 | 311.649 | 9.8612 | 5.216e-05 | 67140 | 6714 | 41.0276 | -3.0297 | 25.965 | 93673.0236 | 11.1145 | 1.4894e-05 | 2418835.7917 | 8470830 | 368 | 122.6667 | 464.2933 | 6.1405 | 0.0021538 | 0.88634 | 2143905.5383 | 7508016.6306 | 411.5207
2023-01-10 | 8 | 21564.5 | 2156.45 | 39.4568 | -3.2593 | 28.07 | 3116.4902 | 311.649 | 9.9788 | 4.6373e-05 | 67140 | 6714 | 41.0276 | -3.0297 | 25.965 | 93673.0236 | 11.1145 | 1.4894e-05 | 2720721.0833 | 8470830 | 377 | 125.6667 | 475.6483 | 6.1647 | 0.0021024 | 0.9 | 2448648.975 | 7623747 | 428.0835
2023-01-30 | 0.5 | 11035.75 | 1103.575 | 39.6075 | -3.2942 | 25.66 | 17138.3696 | 1713.837 | 9.3089 | 9.0615e-05 | 34742.75 | 3474.275 | 41.0264 | -3.0295 | 26.935 | 44812.0302 | 10.4557 | 2.8783e-05 | 1392343.7917 | 4383376.9583 | 670 | 223.3333 | 845.3167 | 6.7397 | 0.001183 | 0.79992 | 1113763.2034 | 3506349.5035 | 676.1854
2023-01-30 | 2 | 5005 | 500.5 | 39.6075 | -3.2942 | 25.66 | 17138.3696 | 1713.837 | 8.5182 | 0.0001998 | 32732 | 3273.2 | 41.03 | -3.0295 | 26.935 | 44934.8126 | 10.3961 | 3.0551e-05 | 631464.1667 | 4129687.3333 | 1111.5 | 370.5 | 1402.3425 | 7.2459 | 0.00071309 | 0.98535 | 622211.7808 | 4069178.0238 | 1381.795
2023-01-30 | 4 | 7425.25 | 742.525 | 39.6075 | -3.2942 | 25.66 | 17138.3696 | 1713.837 | 8.9126 | 0.00013468 | 45032.25 | 4503.225 | 41.03 | -3.0295 | 26.935 | 44934.8126 | 10.7151 | 2.2206e-05 | 936819.0417 | 5681568.875 | 968.5 | 322.8333 | 1221.9242 | 7.1082 | 0.00081838 | 0.98426 | 922076.5453 | 5592159.3896 | 1202.695
2023-01-30 | 6 | 12452.75 | 1245.275 | 39.6075 | -3.2942 | 25.66 | 17138.3696 | 1713.837 | 9.4297 | 8.0304e-05 | 48343.25 | 4834.325 | 41.03 | -3.0295 | 26.935 | 44934.8126 | 10.7861 | 2.0685e-05 | 1571121.9583 | 6099306.7083 | 1030 | 343.3333 | 1299.5167 | 7.1697 | 0.00076952 | 0.98378 | 1545639.07 | 6000378.709 | 1278.4391
2023-01-30 | 8 | 7556.75 | 755.675 | 39.6075 | -3.2942 | 25.66 | 17138.3696 | 1713.837 | 8.9302 | 0.00013233 | 40895 | 4089.5 | 41.03 | -3.0295 | 26.935 | 44934.8126 | 10.6188 | 2.4453e-05 | 953409.9583 | 5159585.8333 | 1008 | 336 | 1271.76 | 7.1482 | 0.00078631 | 1.01 | 962944.0579 | 5211181.6917 | 1284.4776

## Liquid_Experimental
Date | Hour | Experimental Avg Liquid N2 Concentration (GCE/30ml) | Experimental Avg Liquid N2 Concentration (GCE/ml WW) | Experimental Avg Liquid N2 Concentration (GCE/gal WW) | Daily N2 y int | Daily N2 slope | N2 ct | Calibration Curve N2 (GCE/30ml) | Avg Ln N2 (1st/order) | Avg 1/N2 (2nd/order) | Experimental Avg Liquid RP Concentration (GCE/30ml) | Experimental Avg Liquid RP Concentration (GCE/ml WW) | Experimental Avg Liquid RP Concentration (GCE/gal WW) | Daily RP y int | Daily RP slope | RP ct | Avg Ln RP (1st/order) | Avg 1/RP (2nd/order) | Experimental Avg Liquid Turbidity (NTU) | Experimental Avg Liquid Turbidity (mg/L SS) | Experimental Avg Liquid Turbidity (mg/gal SS) | Avg Ln Turbidity (1st/order) | Avg 1/Turbidity (2nd/order) | Avg Flow (gpm) | Experimental Avg Liquid Turbidity Mass Loading Rate (mg/min SS) | Experimental Avg Liquid N2 Mass Loading Rate (GCE/min) | Experimental Avg Liquid RP Mass Loading Rate (GCE/min)
2022-10-25 | 0.5 | 925.5 | 92.55 | 116767.25 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 6.8303 | 0.0010805 | 12274 | 1227.4 | 1548569.6667 | 41.0275 | -3.292 | 25.83 | 9.4152 | 8.1473e-05 | 118.5 | 39.5 | 149.5075 | 5.0073 | 0.0066886 | 1.3046 | 195.0443 | 152332.0555 | 2020230.8477
2022-10-25 | 2 | 705 | 70.5 | 88947.5 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 6.5582 | 0.0014184 | 9894.75 | 989.475 | 1248387.625 | 41.0275 | -3.292 | 25.83 | 9.1998 | 0.00010106 | 91.45 | 30.4833 | 115.3794 | 4.7482 | 0.0086671 | 1.4039 | 161.979 | 124871.7079 | 1752587.7046
2022-10-25 | 4 | 540.75 | 54.075 | 68224.625 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 6.293 | 0.0018493 | 5811.75 | 581.175 | 733249.125 | 41.0275 | -3.292 | 25.83 | 8.6676 | 0.00017207 | 85.6 | 28.5333 | 107.9987 | 4.6821 | 0.0092594 | 1.2954 | 139.8999 | 88377.1723 | 949840.0942
2022-10-25 | 6 | 6854.5 | 685.45 | 864809.4167 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 8.8327 | 0.00014589 | 6197.75 | 619.775 | 781949.4583 | 41.0275 | -3.292 | 25.83 | 8.7319 | 0.00016135 | 75.15 | 25.05 | 94.8143 | 4.5519 | 0.010547 | 1.1704 | 110.9744 | 1012208.0392 | 915225.3811
2022-10-25 | 8 | 865 | 86.5 | 109134.1667 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 6.7627 | 0.0011561 | 7371 | 737.1 | 929974.5 | 41.0275 | -3.292 | 25.83 | 8.9053 | 0.00013567 | 75.9 | 25.3 | 95.7605 | 4.5619 | 0.010443 | 1.0446 | 100.027 | 113996.509 | 971408.4023
2022-10-25 | 10 | 935.5 | 93.55 | 118028.9167 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 6.8411 | 0.0010689 | 5988.75 | 598.875 | 755580.625 | 41.0275 | -3.292 | 25.83 | 8.6976 | 0.00016698 | 72.2 | 24.0667 | 91.0923 | 4.5119 | 0.010978 | 1.064 | 96.9224 | 125582.9329 | 803938.8452
2022-10-25 | 12 | 582 | 58.2 | 73429 | 39.6044 | -3.292 | 29.56 | 1125.0527 | 6.3665 | 0.0017182 | 3027 | 302.7 | 381906.5 | 41.0275 | -3.292 | 25.83 | 8.0153 | 0.00033036 | 65.3 | 21.7667 | 82.3868 | 4.4114 | 0.012138 | 1.0574 | 87.1177 | 77645.5016 | 403836.6552
2022-12-09 | 0.5 | 5652.5 | 565.25 | 713157.0833 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 8.6399 | 0.00017691 | 35964.75 | 3596.475 | 4537552.625 | 41.0275 | -3.0297 | 26.335 | 10.4903 | 2.7805e-05 | 274 | 91.3333 | 345.6967 | 5.8456 | 0.0028927 | 1.5 | 518.545 | 1069735.625 | 6806328.9375
2022-12-09 | 2 | 3220.25 | 322.025 | 406288.2083 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 8.0772 | 0.00031053 | 26330 | 2633 | 3321968.3333 | 41.0275 | -3.0297 | 26.335 | 10.1785 | 3.7979e-05 | 255 | 85 | 321.725 | 5.7737 | 0.0031082 | 0.93 | 299.2043 | 377848.0338 | 3089430.55
2022-12-09 | 4 | 5879.25 | 587.925 | 741765.375 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 8.6792 | 0.00017009 | 19080.75 | 1908.075 | 2407354.625 | 41.0275 | -3.0297 | 26.335 | 9.8564 | 5.2409e-05 | 234 | 78 | 295.23 | 5.6878 | 0.0033872 | 0.75 | 221.4225 | 556324.0312 | 1805515.9688
2022-12-09 | 6 | 4508.75 | 450.875 | 568853.9583 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 8.4138 | 0.00022179 | 17247.75 | 1724.775 | 2176091.125 | 41.0275 | -3.0297 | 26.335 | 9.7554 | 5.7979e-05 | 219.5 | 73.1667 | 276.9358 | 5.6238 | 0.0036109 | 0.4 | 110.7743 | 227541.5833 | 870436.45
2022-12-09 | 8 | 4171 | 417.1 | 526241.1667 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 8.3359 | 0.00023975 | 15377.5 | 1537.75 | 1940127.9167 | 41.0275 | -3.0297 | 26.335 | 9.6407 | 6.503e-05 | 230 | 76.6667 | 290.1833 | 5.6705 | 0.0034461 | 0.53 | 153.7972 | 278907.8183 | 1028267.7958
2022-12-09 | 10 | 4534.25 | 453.425 | 572071.2083 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 8.4194 | 0.00022054 | 25738.75 | 2573.875 | 3247372.2917 | 41.0275 | -3.0297 | 26.335 | 10.1558 | 3.8852e-05 | 381.5 | 127.1667 | 481.3258 | 6.1765 | 0.0020776 | 0.3 | 144.3978 | 171621.3625 | 974211.6875
2022-12-09 | 12 | 4247.56 | 424.756 | 535900.4867 | 39.6005 | -3.2923 | 30.84 | 458.0425 | 8.3541 | 0.00023543 | 23897.69 | 2389.769 | 3015091.8883 | 41.0275 | -3.0297 | 26.335 | 10.0815 | 4.1845e-05 | 376 | 125.3333 | 474.3867 | 6.162 | 0.002108 | 0.35 | 166.0353 | 187565.1703 | 1055282.1609
2023-01-10 | 0.5 | 28151.5 | 2815.15 | 3551780.9167 | 39.4568 | -3.2593 | 28.07 | 3116.4902 | 10.2454 | 3.5522e-05 | 51688.75 | 5168.875 | 6521397.2917 | 41.0276 | -3.0297 | 25.965 | 10.853 | 1.9347e-05 | 200.5 | 66.8333 | 252.9642 | 5.5332 | 0.0039531 | 1.0914 | 276.0864 | 3876431.7888 | 7117486.2307
2023-01-10 | 2 | 14669 | 1466.9 | 1850738.8333 | 39.4568 | -3.2593 | 28.07 | 3116.4902 | 9.5935 | 6.8171e-05 | 40061.75 | 4006.175 | 5054457.4583 | 41.0276 | -3.0297 | 25.965 | 10.5982 | 2.4961e-05 | 149 | 49.6667 | 187.9883 | 5.2364 | 0.0053195 | 1.0881 | 204.5487 | 2013775.1197 | 5499717.4586
2023-01-10 | 4 | 5118.5 | 511.85 | 645784.0833 | 39.4568 | -3.2593 | 28.07 | 3116.4902 | 8.5406 | 0.00019537 | 24832.5 | 2483.25 | 3133033.75 | 41.0276 | -3.0297 | 25.965 | 10.1199 | 4.027e-05 | 384 | 128 | 484.48 | 6.1831 | 0.0020641 | 1.0244 | 496.2913 | 661527.8458 | 3209414.9127
2023-01-10 | 6 | 15705.75 | 1570.575 | 1981542.125 | 39.4568 | -3.2593 | 28.07 | 3116.4902 | 9.6618 | 6.3671e-05 | 24518.75 | 2451.875 | 3093448.9583 | 41.0276 | -3.0297 | 25.965 | 10.1072 | 4.0785e-05 | 264 | 88 | 333.08 | 5.8084 | 0.0030023 | 0.88634 | 295.2214 | 1756315.6419 | 2741840.6727
2023-01-10 | 8 | 3714.25 | 371.425 | 468614.5417 | 39.4568 | -3.2593 | 28.07 | 3116.4902 | 8.2199 | 0.00026923 | 11734.25 | 1173.425 | 1480471.2083 | 41.0276 | -3.0297 | 25.965 | 9.3703 | 8.5221e-05 | 255 | 85 | 321.725 | 5.7737 | 0.0031082 | 0.9 | 289.5525 | 421753.0875 | 1332424.0875
2023-01-30 | 0.5 | 4980 | 498 | 628310 | 39.6075 | -3.2942 | 25.66 | 17138.3696 | 8.5132 | 0.0002008 | 4980 | 498 | 628310 | 41.0264 | -3.0295 | 26.935 | 8.5132 | 0.0002008 | 538 | 179.3333 | 678.7767 | 6.5203 | 0.0014732 | 0.79992 | 542.9668 | 502597.5355 | 502597.5355
2023-01-30 | 2 | 5238 | 523.8 | 660861 | 39.6075 | -3.2942 | 25.66 | 17138.3696 | 8.5637 | 0.00019091 | 5238 | 523.8 | 660861 | 41.03 | -3.0295 | 26.935 | 8.5637 | 0.00019091 | 529 | 176.3333 | 667.4217 | 6.5034 | 0.0014983 | 0.98535 | 657.6424 | 651177.8837 | 651177.8837
2023-01-30 | 4 | 5056.25 | 505.625 | 637930.2083 | 39.6075 | -3.2942 | 25.66 | 17138.3696 | 8.5284 | 0.00019778 | 5056.25 | 505.625 | 637930.2083 | 41.03 | -3.0295 | 26.935 | 8.5284 | 0.00019778 | 580.5 | 193.5 | 732.3975 | 6.5963 | 0.0013654 | 0.98426 | 720.8719 | 627891.2538 | 627891.2538
2023-01-30 | 6 | 3907.25 | 390.725 | 492964.7083 | 39.6075 | -3.2942 | 25.66 | 17138.3696 | 8.2706 | 0.00025593 | 3907.25 | 390.725 | 492964.7083 | 41.03 | -3.0295 | 26.935 | 8.2706 | 0.00025593 | 593.5 | 197.8333 | 748.7992 | 6.6185 | 0.0013355 | 0.98378 | 736.654 | 484969.0435 | 484969.0435
2023-01-30 | 8 | 2718.75 | 271.875 | 343015.625 | 39.6075 | -3.2942 | 25.66 | 17138.3696 | 7.9079 | 0.00036782 | 2718.75 | 271.875 | 343015.625 | 41.03 | -3.0295 | 26.935 | 7.9079 | 0.00036782 | 586 | 195.3333 | 739.3367 | 6.6058 | 0.0013526 | 1.01 | 746.73 | 346445.7812 | 346445.7812

## Daily_Flumes_Data
Date | U Flow Rate (ml/s) | U N2 (GCE/probe) | U N2 (GCE/ml WW) | U Mass Flow Rate (GCE/s) | Log U Mass Flow Rate | M Flow Rate (ml/s) | M N2 (GCE/probe) | M N2 (GCE/ml WW) | M Mass Flow Rate (GCE/s) | Log M Mass Flow Rate | H Flow Rate (ml/s) | H N2 (GCE/probe) | H N2 (GCE/ml WW) | H N2 Mass Flow Rate (GCE/sec) | Log H N2 Mass Flow Rate | Primary Clarifier Flow Rate (ml/s) | Primary Clarifier N2 Mass Loading Rate (GCE/s) | Primary Clarifier N2 Concentration (GCE/ml WW) | U RP (GCE/probe) | U RP (GCE/ml WW) | U RP Mass Flow Rate (GCE/s) | M RP (GCE/probe) | M RP (GCE/ml WW) | M RP Mass Flow Rate (GCE/s) | H RP (GCE/probe) | H RP (GCE/ml WW) | H RP Mass Flow Rate (GCE/s) | Primary Clarifier RP Mass Loading Rate (GCE/s) | Primary Clarifier RP Concentration (GCE/ml WW)
2022-10-25 | 57291.6667 | 1124 | 67.3 | 3855729.1667 | 6.5861 | 29079.8611 | 4034 | 241.3 | 7016970.4861 | 6.8461 | 61302.8472 | 6048 | 362.2 | 22203891.2639 | 7.3464 | 147674.375 | 33076590.9167 | 223.9833 | 103794 | 10379.4 | 594653125 | 201826 | 20182.6 | 1156294791.6667 | 82633 | 8263.3 | 473418229.1667 | 2224366145.8333 | 15062.6413
2022-12-09 | 57291.6667 | 2545 | 152.4 | 8731250 | 6.9411 | 29079.8611 | 10353 | 619.9 | 18026605.9028 | 7.2559 | 61302.8472 | 15848 | 949 | 58176402.0139 | 7.7647 | 147674.375 | 84934257.9167 | 575.1455 | 70711 | 7071.1 | 405115104.1667 | 453416 | 45341.6 | 2597695833.3333 | 111990 | 11199 | 641609375 | 3644420312.5 | 24678.759
2023-01-10 | 57291.6667 | 315 | 190.5 | 10914062.5 | 7.038 | 29079.8611 | 88864 | 885 | 25735677.0833 | 7.4105 | 61302.8472 | 7722 | 619.9 | 38001634.9931 | 7.5798 | 147674.375 | 74651374.5764 | 505.5134 | 69910 | 6991 | 400526041.6667 | 852020 | 85202 | 4881364583.3333 | 460360 | 46036 | 2637479166.6667 | 7919369791.6667 | 53627.2443
2023-01-30 | 57291.6667 | 1063 | 63.7 | 3649479.1667 | 6.5622 | 29079.8611 | 17745 | 1046.4 | 30429166.6667 | 7.4833 | 61302.8465 | 9162 | 548.6 | 33630741.5675 | 7.5267 | 147674.3742 | 67709387.4008 | 458.5047 | 44818 | 4481.8 | 256769791.6667 | 729099 | 72909.9 | 4177129687.5 | 333289 | 33328.9 | 1909468229.1667 | 6343367708.3333 | 42955.1013
|  |  | 10/25/22 (l/d) |  |  | 12/9/22 (l/d) | 1/10/23 (l/d) | 1/30/23 (l/d)
|  | U | 4950000 |  |  | 4950000 | 4950000 | 4950000
|  | M | 2512500 |  |  | 2512500 | 2512500 | 2512500
|  | H | 5296566 |  |  | 5296566 | 5296566 | 5296565.9341
|  | Total (MGD) | 3.3706 |  |  | 3.3706
|  | Total (gpm) | 2340.6861

## Passive vs. P.C. Plots
Date | Hour | Avg Experimental Flow (ml/s) | Experimental Avg Passive N2 Concentration (GCE/30ml) | Experimental Avg Passive N2 Concentration (GCE/ml WW) | Experimental Avg Passive Turbidity (mg/L SS) | Experimental Avg Passive N2 Mass Loading Rate (GCE/min) | Daily Avg Primary Clarifier N2 Mass Loading Rate (GCE/min) | Daily Avg Primary Clarifier N2 Concentration (GCE/ml WW) | Avg Experimental Passive RP Concentration (GCE/30ml) | Avg Experimental Passive RP Concentration (GCE/ml WW) | Avg Experimental Passive RP Mass Loading Rate (GCE/min) | Avg Experimental Passive Turbidity Mass Loading Rate (mg/min) | Daily Avg Primary Clarifier RP Mass Loading Rate (GCE/min) | Daily Avg Primary Clarifier RP Concentration (GCE/ml WW)
2022-10-25 | 0.5 | 82.3059 | 451.25 | 45.125 | 54.3333 | 74273.1929 | 1984595455 | 223.9833 | 5498 | 549.8 | 904939.6448 | 268.3171 | 133461968750 | 15062.6413
2022-10-25 | 2 | 88.5709 | 445.75 | 44.575 | 32.1333 | 78952.5728 | 1984595455 | 223.9833 | 6865 | 686.5 | 1215949.3259 | 170.7646 | 133461968750 | 15062.6413
2022-10-25 | 4 | 81.7259 | 687.75 | 68.775 | 95.1667 | 112402.0346 | 1984595455 | 223.9833 | 3880.25 | 388.025 | 634166.4775 | 466.6546 | 133461968750 | 15062.6413
2022-10-25 | 6 | 73.8431 | 1368.5 | 136.85 | 47.1667 | 202087.1984 | 1984595455 | 223.9833 | 16035.75 | 1603.575 | 2368008.6169 | 208.976 | 133461968750 | 15062.6413
2022-10-25 | 8 | 65.9009 | 774 | 77.4 | 74.3333 | 102003.8127 | 1984595455 | 223.9833 | 7499.25 | 749.925 | 988310.1968 | 293.918 | 133461968750 | 15062.6413
2022-10-25 | 10 | 67.1278 | 2338.75 | 233.875 | 61.8333 | 313957.3324 | 1984595455 | 223.9833 | 11968.25 | 1196.825 | 1606635.9564 | 249.0443 | 133461968750 | 15062.6413
2022-10-25 | 12 | 66.7128 | 4005.5 | 400.55 | 58.3333 | 534379.8224 | 1984595455 | 223.9833 | 10280.25 | 1028.025 | 1371503.7248 | 233.4948 | 133461968749.9998 | 15062.6413
2022-12-09 | 0.5 | 94.635 | 4662.5 | 466.25 | 81.3333 | 882378.125 | 5096055475 | 575.1455 | 19037.5 | 1903.75 | 3602846.875 | 461.8188 | 218665218750 | 24678.759
2022-12-09 | 2 | 58.6737 | 1243.75 | 124.375 | 85.3333 | 145935.4063 | 5096055475 | 575.1455 | 12729.75 | 1272.975 | 1493645.2163 | 300.4093 | 218665218750 | 24678.759
2022-12-09 | 4 | 47.3175 | 3878.5 | 387.85 | 133.5 | 367003.0625 | 5096055475 | 575.1455 | 27243 | 2724.3 | 2577868.875 | 379.0132 | 218665218750 | 24678.759
2022-12-09 | 6 | 25.236 | 4358.25 | 435.825 | 120.8333 | 219946.35 | 5096055475 | 575.1455 | 24619.75 | 2461.975 | 1242476.7167 | 182.961 | 218665218750 | 24678.759
2022-12-09 | 8 | 33.4377 | 1243.75 | 124.375 | 399.6667 | 83167.4896 | 5096055475 | 575.1455 | 12729.75 | 1272.975 | 851217.1663 | 801.836 | 218665218750 | 24678.759
2022-12-09 | 10 | 18.927 | 3713.25 | 371.325 | 361 | 140546.5125 | 5096055475 | 575.1455 | 28206.75 | 2820.675 | 1067625.4875 | 409.9588 | 218665218750 | 24678.759
2022-12-09 | 12 | 22.0815 | 1929.0003 | 192.9 | 326 | 85181.436 | 5096055475 | 575.1455 | 25080.75 | 2508.075 | 1107524.1187 | 431.9141 | 218665218750 | 24678.759
2023-01-10 | 0.5 | 68.8567 | 5692 | 569.2 | 211.8333 | 783782.3825 | 4479082474.5833 | 505.5134 | 70703.75 | 7070.375 | 9735831.6284 | 875.1693 | 475162187499.9999 | 53627.2443
2023-01-10 | 2 | 68.6478 | 17217.5 | 1721.75 | 184.5 | 2363635.7709 | 4479082474.5833 | 505.5134 | 21306 | 2130.6 | 2924909.1758 | 759.9307 | 475162187499.9999 | 53627.2443
2023-01-10 | 4 | 64.6281 | 17474 | 1747.4 | 226.6667 | 2258383.819 | 4479082474.5833 | 505.5134 | 10513.75 | 1051.375 | 1358823.5594 | 878.942 | 475162187499.9999 | 53627.2443
2023-01-10 | 6 | 55.9191 | 19171.75 | 1917.175 | 122.6667 | 2143905.5383 | 4479082474.5833 | 505.5134 | 67140 | 6714 | 7508016.6306 | 411.5642 | 475162187499.9999 | 53627.2443
2023-01-10 | 8 | 56.781 | 21564.5 | 2156.45 | 125.6667 | 2448648.975 | 4479082474.5833 | 505.5134 | 67140 | 6714 | 7623747 | 428.1287 | 475162187499.9999 | 53627.2443
2023-01-30 | 0.5 | 50.4669 | 11035.75 | 1103.575 | 223.3333 | 67709387.4008 | 4062563244.0476 | 458.5047 | 34742.75 | 3474.275 | 3506349.5035 | 676.2569 | 380602062500 | 42955.1013
2023-01-30 | 2 | 62.1656 | 5005 | 500.5 | 370.5 | 67709387.4008 | 4062563244.0476 | 458.5047 | 32732 | 3273.2 | 4069178.0238 | 1381.941 | 380602062500 | 42955.1013
2023-01-30 | 4 | 62.0972 | 7425.25 | 742.525 | 322.8333 | 67709387.4008 | 4062563244.0476 | 458.5047 | 45032.25 | 4503.225 | 5592159.3896 | 1202.8221 | 380602062500 | 42955.1013
2023-01-30 | 6 | 62.0667 | 12452.75 | 1245.275 | 343.3333 | 67709387.4008 | 4062563244.0476 | 458.5047 | 48343.25 | 4834.325 | 6000378.709 | 1278.5742 | 380602062500 | 42955.1013
2023-01-30 | 8 | 63.7209 | 7556.75 | 755.675 | 336 | 67709387.4008 | 4062563244.0476 | 458.5047 | 40895 | 4089.5 | 5211181.6917 | 1284.6133 | 380602062500 | 42955.1013

## Liquid vs. P.C. Plots
Date | Hour | Avg Experimental Flow (ml/s) | Experimental Avg Liquid N2 Concentration (GCE/30ml) | Experimental Avg Liquid N2 Concentration (GCE/ml WW) | Experimental Avg Liquid Turbidity (mg/L SS) | Experimental Avg Liquid N2 Mass Loading Rate (GCE/min) | Daily Avg Primary Clarifier N2 Mass Loading Rate (GCE/min) | Daily Avg Primary Clarifier N2 Concentration (GCE/ml WW) | Experimental Avg Liquid RP Concentration (GCE/30ml) | Experimental Avg Liquid RP Concentration (GCE/ml WW) | Experimental Avg Liquid RP Mass Loading Rate (GCE/min) | Experimental Avg Liquid Turbidity Mass Loading Rate (mg/min) | Daily Avg Primary Clarifier RP Mass Loading Rate (GCE/min) | Daily Avg Primary Clarifier RP Concentration (GCE/ml WW)
2022-10-25 | 0 | 82.3059 | 925.5 | 92.55 | 39.5 | 457044.4621 | 1984595455 | 223.9833 | 12274 | 1227.4 | 6061333.0391 | 195.0649 | 133461968750 | 15062.6413
2022-10-25 | 2 | 88.5709 | 705 | 70.5 | 30.4833 | 374654.7131 | 1984595455 | 223.9833 | 9894.75 | 989.475 | 5258318.7558 | 161.9961 | 133461968750 | 15062.6413
2022-10-25 | 4 | 81.7259 | 540.75 | 54.075 | 28.5333 | 265159.536 | 1984595455 | 223.9833 | 5811.75 | 581.175 | 2849821.4209 | 139.9147 | 133461968750 | 15062.6413
2022-10-25 | 6 | 73.8431 | 6854.5 | 685.45 | 25.05 | 3036945.029 | 1984595455 | 223.9833 | 6197.75 | 619.775 | 2745966.3073 | 110.9862 | 133461968750 | 15062.6413
2022-10-25 | 8 | 65.9009 | 865 | 86.5 | 25.3 | 342025.6686 | 1984595455 | 223.9833 | 7371 | 737.1 | 2914533.183 | 100.0376 | 133461968750 | 15062.6413
2022-10-25 | 10 | 67.1278 | 935.5 | 93.55 | 24.0667 | 376788.6138 | 1984595455 | 223.9833 | 5988.75 | 598.875 | 2412071.4171 | 96.9326 | 133461968750 | 15062.6413
2022-10-25 | 12 | 66.7128 | 582 | 58.2 | 21.7667 | 232961.1216 | 1984595455 | 223.9833 | 3027 | 302.7 | 1211637.9984 | 87.1269 | 133461968749.9998 | 15062.6413
2022-12-09 | 0 | 94.635 | 5652.5 | 565.25 | 91.3333 | 3209546.025 | 5096055475 | 575.1455 | 35964.75 | 3596.475 | 20421144.6975 | 518.5998 | 218665218750 | 24678.759
2022-12-09 | 2 | 58.6737 | 3220.25 | 322.025 | 85 | 1133663.8945 | 5096055475 | 575.1455 | 26330 | 2633 | 9269271.126 | 299.2359 | 218665218750 | 24678.759
2022-12-09 | 4 | 47.3175 | 5879.25 | 587.925 | 78 | 1669148.4712 | 5096055475 | 575.1455 | 19080.75 | 1908.075 | 5417120.3288 | 221.4459 | 218665218750 | 24678.759
2022-12-09 | 6 | 25.236 | 4508.75 | 450.875 | 73.1667 | 682696.89 | 5096055475 | 575.1455 | 17247.75 | 1724.775 | 2611585.314 | 110.786 | 218665218750 | 24678.759
2022-12-09 | 8 | 33.4377 | 4171 | 417.1 | 76.6667 | 836811.8802 | 5096055475 | 575.1455 | 15377.5 | 1537.75 | 3085129.3905 | 153.8134 | 218665218750 | 24678.759
2022-12-09 | 10 | 18.927 | 4534.25 | 453.425 | 127.1667 | 514918.4985 | 5096055475 | 575.1455 | 25738.75 | 2573.875 | 2922943.9275 | 144.413 | 218665218750 | 24678.759
2022-12-09 | 12 | 22.0815 | 4247.56 | 424.756 | 125.3333 | 562754.9768 | 5096055475 | 575.1455 | 23897.69 | 2389.769 | 3166181.0504 | 166.0529 | 218665218750 | 24678.759
2023-01-10 | 0 | 68.8567 | 28151.5 | 2815.15 | 66.8333 | 11630524.354 | 4479082474.5833 | 505.5134 | 51688.75 | 5168.875 | 21354715.2267 | 276.1156 | 475162187499.9999 | 53627.2443
2023-01-10 | 2 | 68.6478 | 14669 | 1466.9 | 49.6667 | 6041963.8082 | 4479082474.5833 | 505.5134 | 40061.75 | 4006.175 | 16500896.0116 | 204.5703 | 475162187499.9999 | 53627.2443
2023-01-10 | 4 | 64.6281 | 5118.5 | 511.85 | 128 | 1984793.2688 | 4479082474.5833 | 505.5134 | 24832.5 | 2483.25 | 9629262.2541 | 496.3437 | 475162187499.9999 | 53627.2443
2023-01-10 | 6 | 55.9191 | 15705.75 | 1570.575 | 88 | 5269503.7497 | 4479082474.5833 | 505.5134 | 24518.75 | 2451.875 | 8226391.2938 | 295.2526 | 475162187499.9999 | 53627.2443
2023-01-10 | 8 | 56.781 | 3714.25 | 371.425 | 85 | 1265392.9755 | 4479082474.5833 | 505.5134 | 11734.25 | 1173.425 | 3997694.6955 | 289.5831 | 475162187499.9999 | 53627.2443
2023-01-30 | 0 | 50.4669 | 4980 | 498 | 179.3333 | 1507951.9506 | 4062563244.0476 | 458.5047 | 4980 | 498 | 1507951.9506 | 543.0242 | 380602062500 | 42955.1013
2023-01-30 | 2 | 62.1656 | 5238 | 523.8 | 176.3333 | 1953740.1011 | 4062563244.0476 | 458.5047 | 5238 | 523.8 | 1953740.1011 | 657.7119 | 380602062500 | 42955.1013
2023-01-30 | 4 | 62.0972 | 5056.25 | 505.625 | 193.5 | 1883872.8286 | 4062563244.0476 | 458.5047 | 5056.25 | 505.625 | 1883872.8286 | 720.9481 | 380602062500 | 42955.1013
2023-01-30 | 6 | 62.0667 | 3907.25 | 390.725 | 197.8333 | 1455060.8855 | 4062563244.0476 | 458.5047 | 3907.25 | 390.725 | 1455060.8855 | 736.7318 | 380602062500 | 42955.1013
2023-01-30 | 8 | 63.7209 | 2718.75 | 271.875 | 195.3333 | 1039447.1813 | 4062563244.0476 | 458.5047 | 2718.75 | 271.875 | 1039447.1813 | 746.8089 | 380602062500 | 42955.1013

## Experimental_vs_Model
Date | Residence Time | Experimental Avg Passive N2 Concentration (GCE/probe) | Experimental Avg Passive N2 Concentration (GCE/ml WW) | Experimental Avg Liquid N2 Concentration (GCE/ml WW) | Liquid Model Avg Passive N2 Concentration (GCE/probe) | Log Model/Experiment Ratio | Sampler-Water Partition Coefficient (ml/g) | Sampler Mass (g) | Sampling Rate (ml/h) | Model Half Time (h)
2022-10-25 | 0.5 | 451.25 | 45.125 | 92.55 | 4172.5951 | 0.96599 | 280.5 | 1 | 98.3 | 1.9779
2022-10-25 | 2 | 445.75 | 44.575 | 70.5 | 9963.8999 | 1.3493 | 280.5 | 1 | 98.3 | 1.9779
2022-10-25 | 4 | 687.75 | 68.775 | 54.075 | 11434.3069 | 1.2208 | 280.5 | 1 | 98.3 | 1.9779
2022-10-25 | 6 | 1368.5 | 136.85 | 685.45 | 168787.0529 | 2.0911 | 280.5 | 1 | 98.3 | 1.9779
2022-10-25 | 8 | 774 | 77.4 | 86.5 | 22793.051 | 1.4691 | 280.5 | 1 | 98.3 | 1.9779
2022-10-25 | 10 | 2338.75 | 233.875 | 93.55 | 25451.8956 | 1.0367 | 280.5 | 1 | 98.3 | 1.9779
2022-10-25 | 12 | 4005.5 | 400.55 | 58.2 | 16081.6013 | 0.60367 | 280.5 | 1 | 98.3 | 1.9779
2022-12-09 | 0.5 | 4662.5 | 466.25 | 565.25 | 25484.1639 | 0.73765 | 280.5 | 1 | 98.3 | 1.9779
2022-12-09 | 2 | 1243.75 | 124.375 | 322.025 | 45512.4094 | 1.5634 | 280.5 | 1 | 98.3 | 1.9779
2022-12-09 | 4 | 3878.5 | 387.85 | 587.925 | 124318.3523 | 1.5059 | 280.5 | 1 | 98.3 | 1.9779
2022-12-09 | 6 | 4358.25 | 435.825 | 450.875 | 111024.6735 | 1.4061 | 280.5 | 1 | 98.3 | 1.9779
2022-12-09 | 8 | 1243.75 | 124.375 | 417.1 | 109907.3012 | 1.9463 | 280.5 | 1 | 98.3 | 1.9779
2022-12-09 | 10 | 3713.25 | 371.325 | 453.425 | 123362.114 | 1.5214 | 280.5 | 1 | 98.3 | 1.9779
2022-12-09 | 12 | 1929.0003 | 192.9 | 424.756 | 117366.9528 | 1.7842 | 280.5 | 1 | 98.3 | 1.9779
2023-01-10 | 0.5 | 5692 | 569.2 | 2815.15 | 126920.3787 | 1.3483 | 280.5 | 1 | 98.3 | 1.9779
2023-01-10 | 2 | 17217.5 | 1721.75 | 1466.9 | 207319.7836 | 1.0807 | 280.5 | 1 | 98.3 | 1.9779
2023-01-10 | 4 | 17474 | 1747.4 | 511.85 | 108232.0851 | 0.79196 | 280.5 | 1 | 98.3 | 1.9779
2023-01-10 | 6 | 19171.75 | 1917.175 | 1570.575 | 386742.6152 | 1.3048 | 280.5 | 1 | 98.3 | 1.9779
2023-01-10 | 8 | 21564.5 | 2156.45 | 371.425 | 97871.7798 | 0.65692 | 280.5 | 1 | 98.3 | 1.9779
2023-01-30 | 0.5 | 11035.75 | 1103.575 | 498 | 22452.2134 | 0.30846 | 280.5 | 1 | 98.3 | 1.9779
2023-01-30 | 2 | 5005 | 500.5 | 523.8 | 74029.6562 | 1.17 | 280.5 | 1 | 98.3 | 1.9779
2023-01-30 | 4 | 7425.25 | 742.525 | 505.625 | 106915.7918 | 1.1583 | 280.5 | 1 | 98.3 | 1.9779
2023-01-30 | 6 | 12452.75 | 1245.275 | 390.725 | 96213.1756 | 0.88797 | 280.5 | 1 | 98.3 | 1.9779
2023-01-30 | 8 | 7556.75 | 755.675 | 271.875 | 71640.0084 | 0.97682 | 280.5 | 1 | 98.3 | 1.9779